## Slide 1: Predictive Maintenance & Basic Motor Operation and Analysis SISD Songkhla 1-2 และ 3-4 มีนาคม 2016
Welcome to
Team Introduction
Safety moment
Cases study when not do Predictive
Introductions to Predictive Maintenance
How electrical generated
How motor turn when get power supply
Q & A
Agenda:

## Slide 2
Presented By:
K. Chienchai Suwanchote
Vibration Specialist / Maintenance Consultant
K. Surachai Vaitayachiva / Service Manager
Mr.Panuwat Kaewpoo/ Repair shop manager
PdM Solution Co., Ltd. www.pdms.co.th

## Slide 3
Electric shock

## Slide 4: การดูแลและการบำรุงรักษามอเตอร์ภาคปฏิบัติ อยากให้ทุกคนเห็นภาพที่เคยเกิดขึ้นก่อนหน้านี้กับมอเตอร์ และเข้าใจ จะได้กันได้ความเสียหายได้
1. จะดูแลมอเตอร์อย่างไรไม่ให้เสีย
2. มอเตอร์เสียจากอะไรได้บ้าง
3. การป้องกันการเสียหายแต่ละอย่างด้วยเหตุผลและความรู้
4. ทำทุกอย่างถูกต้องตั้งแต่เริ่มต้น:
- การออกแบบ (Designing)
- จัดซื้อ (Purchasing )
- ประกอบและติดตั้ง (Fabricating & installing )
- การใช้งานจากผู้เกี่ยวข้อง (Operating )
- การบำรุงรักษาแบบถูกวิธี (Maintaining )

## Slide 5: 5. การตรวจสุขภาพเครื่องจักร (ต้องรู้อะไรบ้าง?)
* หาข้อผิดปรกติต่างๆ
* ระบุปัญหาและกำหนดวิธีแก้ไข (โดยผู้สมควรทำ)
* แก้ไขให้เหมาะสมกับความต้องการของอุปกรณ์
* ทำการบำรุงรักษาเมื่อเครื่องจักรต้องการก็พอจะทำให้
- ประหยัด
- ถูกเวลา
- ใช้งานได้ยาวนานเพราะไม่ไปทำลายชิ้นส่วนหลักจากการทำที่ไร้ประโยชน์

## Slide 6: คำถามที่ควรหาคำตอบ
มอเตอร์มีอายุการใช้งานนานเท่าไร?...........................
ลูกปืน มีอายุการใช้งานนานเท่าไร?...........................
สารหล่อลื่น มีอายุการใช้งานนานเท่าไร?.......................
ฉนวนของ มอเตอร์ มีอายุการใช้งานนานเท่าไร?.................
6. การถ่วงสมดุลส่วนหมุน (Rotor Balancing)
7. การตั้งศูนย์เพลาที่ถูกต้อง (Machine Shaft Alignment)
Syllabus

## Slide 8
-Machinery Vibration
เครื่องมือที่ช่วยในการทำ Predictive Maintenance
-Lube Oil Analysis / Wear Particle Analysis
-Ultrasonic testing
-Motor Current Analysis
-Infrared Thermography
-Bearing Temperature
-Sound Meter and etc.
-Partial Discharge
Long storage of motor
Brochure
Case Study Failure
Precision Alignment Balancing
Benefit of Predictive Maintenance
Training
Thermal
Client
Vibration Chart
Resume
Signal sample
Balancing report Innovation
Syllabus
Motor details
switch
Case motor

## Slide 9
Electrical generated
How motor 1 phase turn when get Power supply
How motor 3 phase turn when get power supply